Implementarea si verificarea functionalitatii de interceptare a pachetelor Modbus TCP
Autori
Conducători științifici
Ioana – Laura Popescu
As. Drd. Ing. Dumitru Cristian Trancă

---
Cuprins
Cuprins
- Security Challenges
- Modbus over TCP
- Existing solutions
- Implementation

---
CyberSecurity Challenges in IIoT
CyberSecurity Challenges in IIoT
- ICS had been operating in isolation outside the industrial plant up until now
- Increasing use of TCP/IP and Ethernet
- Security provided by isolation withdrawn
  - Why though?

---
SCADA System Components
SCADA System Components
        *Typical SCADA System components

---
- Many ICS’s include web-enabled HMI’s
- Huge cost savings
- Also huge security challenges
- ICS’s stand as vulnerable as enterprise IT
  - Not as prepared
    - Weak encryption or not at all (man in the middle)
  - Consequences much more worst
    - i.e possible loss of human lives

---
Modbus over TCP
- TCP/IP provides all necessary packages sent between two participants over LAN
  - It has nothing to do with the content of the messages
- Motbus/TCP is an application level protocol
  - Follows client/server paradigm
- Available requests:
  - Read/write operations on registers
  - Control and monitor device I/O

---
Modbus over TCP

---
Existing solutions
Existing solutions

---
Embedded Network Firewall on FPGA
Tofino 9211-ET-HN3

---
Tofino 9211 ETHN3
- Read only firewall
- It has predefined filtering of allowing only certain read operations
- Statefull firewall
- Upgradable via USB
  - Encrypted update files
  - Diagnosis report
- Throughput of 1000 Modbus frames/second

---
Open-source firewalls in SCADA
- Uses advanced iptables features without change in framework
- Done multiple experiments to get the best candidate
- Statefull firewall
- Closely analysed features of iptables as compared to IPFW, PF, IP filter
  - Statefull, port/host/protocol, NAT, String match
  - Iptables is the only one that provides byte filter and string filter

---
Opensource IEC 61131-3
- Added extensions to iptables via kernel module
- Has not been updated ever since 2004
- Has several patches, but does not comiple with kernel > 2.6

---
Experimental Setup
- Raspberry Pi 3 Model B v1.2 with Raspbian
- ModbusDriver application for modbus master and slave simulation
- 2 ubuntu 16.04 laptops communicating with each other via wifi

---
Implementation of sniffer
- Raspberry opens a raw socket intercepting all traffic
- Parses the packets such that it analyses only TCP and Modbus default port (502)
- Analyses Data payload, and extracts the function code, and applies a simple match so that “Passed” packets will only be of Read operations
- Statefull analyzer

---
Future work to be achieved
- Add Ethernet connections so all traffic between the 2 peers will pass through raspberry
- Further send only packets that are marked as “passed”
  - Via opening an additional socket and bind it to the appropiate interface
- Generate a benchmark on RT vs NonRT kernel